# Full C9orf Genotyping

## PCR for GLT

| C9orf72-F7 | CTGAGCGGCTCTTGGAAGAA |
| --- | --- |
| C9orf72-R5 | CTTGTTCACCCTCAGCGAGT |

Run on 2% Agarose gel

## PCR Program.

| Reaction Mix |  |  | Reaction conditions |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| genomic Mouse DNA | 20-100 | ng | Step | Temp. | Time | Cycles |
| Primers | 10 | pmol | Denaturing | 94°C | 300s | 1x |
| dNTPs | 0.16 | mM | Denaturing | 94°C | 30s |  |
| 10 x Reaction Buffer | 0.1 | Vol | Annealing | 60°C | 30s | 32x |
| Q solution (5M Betaine) | 0.2 | Vol | Extension | 72°C | 45s |  |
| MgCl2 | 3 | mM | Completion | 72°C | 420s | 1x |
| Taq Polymerase (Immolase) | 1.0 | U |  | 12°C | - |  |
| Reaction Volume | 20.0 | µl |  |  |  |  |

Taq = Meridian Bioscience IMMOLASE DNA Polymerase - 500 Units

Code: BIO21047

dNTPS = Meridian Bioscience dNTP Set 100mM - 4 x 25umol (4 x 250uL)

Code: BIO39025

## PCR for GLT

PGK-F1		TACCGGTGGATGTGGAATGTG

C9orf72-R8	TTCCAGAGCTTGCTACAGGC

## PCR Program.

| Reaction Mix |  |  | Reaction conditions |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| genomic Mouse DNA | 20-100 | ng | Step | Temp. | Time | Cycles |
| Primers | 10 | pmol | Denaturing | 94°C | 300s | 1x |
| dNTPs | 0.16 | mM | Denaturing | 94°C | 30s |  |
| 10 x Reaction Buffer | 0.1 | Vol | Annealing | 60°C | 90s | 32x |
| Q solution (5M Betaine) | 0.2 | Vol | Extension | 72°C | 45s |  |
| MgCl2 | 3 | mM | Completion | 72°C | 420s | 1x |
| Taq Polymerase (Immolase) | 1.0 | U |  | 12°C | - |  |
| Reaction Volume | 20.0 | µl |  |  |  |  |

Taq = Meridian Bioscience IMMOLASE DNA Polymerase - 500 Units Code: BIO21047

dNTPS = Meridian Bioscience dNTP Set 100mM - 4 x 25umol (4 x 250uL) Code: BIO39025